## Multipliers
Price Group | Multiplier
4" | 1
6" | 1
8" | 1
10" | 1
12" | 1
Acc | 1
Please enter into the yellow fields the multipliers you received from Franklin Electric
On the following pages you will then find your net price (red letters) automatically calculated.

## Lead times
Estimated Lead Times for Non-Stock Items
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE
| TYPE | DESCRIPTION | AVERAGE LEAD TIME
| 4" | 0.37-7.5 kW std or 316 SS | 5 weeks after receipt of order
| 6" Encaps | 4-30 kW std or 316 SS | 6 weeks after receipt of order
| 6" Encaps | 37-45 kW std or 316 SS | 14 weeks after receipt of order
| 6" RW | 4 - 37 kW std or 316 SS | 6 weeks after receipt of order
| 6" RW Streamline | 4-18.5 kW std | 6 weeks after receipt of order
| 6" RW | 4 - 37 kW 904 L | 8 weeks after receipt of order
| 6" Hi-Temp 90 | 3.7 - 30 kW std | 14 weeks after receipt of order
| 6" Hi-Temp 90 | 3.7 - 30 kW 316 SS | 14 weeks after receipt of order
| 8" Encaps | 30-150 kW std or 316 SS | 14 weeks after receipt of order
| 8" RW | 30-93 kW std or 316 SS | 6 weeks after receipt of order
| 8" RW | 30-93 kW 904L | 8 weeks after receipt of order
| 8" Hi-Temp 75 | 3.7 - 30 kW std | 14 weeks after receipt of order
| 8" Hi-Temp 75 | 3.7 - 30 kW 316 SS | 14 weeks after receipt of order
| 10" RW | 85 - 185 kW std or 316 SS | 6 weeks after receipt of order
| 10" RW | 85 - 185 kW 904L | 8 weeks after receipt of order
| Cables | Special lengths | 3 weeks after receipt of order
| Spare Parts | For current design motors | 4 weeks after receipt of order
| Spare Parts | For previous design motors | on Request
| Spare Parts | 8" CT stators, rotors, misc. | 14 weeks after receipt of order
| RW, 4"& 6" Encaps to 30 kW | New model required | 8 weeks after receipt of order
| 6" 37/45 kW & 8" Encaps | New model required | 16 weeks after receipt of order
Average lead times are only an estimate and can be affected by plant shutdowns and/or holidays
"Rush" orders may improve the above lead times if requested by customer

## 10" Rew
[10 empty] | Rewindable Submersible Motors |  |  |  |  | PE2/PA Windings
10" 380/415 V 50 Hz
Euro Price List
STANDARD CONSTRUCTION
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE | [9 empty] | All motors listed below are 3 phases, include flat 6m lead(s) and SIC seal.
PT100 kit (see price page "Accessoires") can be added to any motor on this page.
* Normally stocked. Call for Availability. Non-stock - call for lead time.
MODEL | DESCRIPTION | Material | Phases | kW | HP | Voltage | Hertz | Thrust (N) | Net Weight (kg) | Remarks | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS* | MODEL | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS*
Direct on Line
264 131 5111 | 10RW-85-380-50-W | W | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 1 lead | 7400.28 | 10" | 7400.28 |  | 264 131 5311 | 8510.32 | 10" | 8510.32
264 133 5111 | 10RW-110-380-50-W | W | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 1 lead | 7731.35 | 10" | 7731.35 | * | 264 133 5311 | 8891.07 | 10" | 8891.07
264 134 5111 | 10RW-130-380-50-W | W | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 1 lead | 8438.05 | 10" | 8438.05 | * | 264 134 5311 | 9703.76 | 10" | 9703.76
Star Delta
264 231 5111 | 10RW-85-380-50-SD-W | W | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 2 leads | 7830.71 | 10" | 7830.71 |  | 264 231 5311 | 9005.31 | 10" | 9005.31
264 233 5111 | 10RW-110-380-50-SD-W | W | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 2 leads | 8161.8 | 10" | 8161.8 | * | 264 233 5311 | 9386.06 | 10" | 9386.06
264 234 5111 | 10RW-130-380-50-SD-W | W | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 2 leads | 8868.48 | 10" | 8868.48 | * | 264 234 5311 | 10198.77 | 10" | 10198.77
264 235 5111 | 10RW-150-380-50-SD-W | W | 3 | 150 | 200 | 380 | 50 | 60000 | 413 | 2 leads | 9484.5 | 10" | 9484.5 | * | 264 235 5311 | 10907.18 | 10" | 10907.18
264 236 5111 | 10RW-185-380-50-SD-W | W | 3 | 185 | 250 | 380 | 50 | 60000 | 449 | 2 leads | 10442.78 | 10" | 10442.78 | * | 264 236 5311 | 12009.2 | 10" | 12009.2
For additional cable sizes or lengths, or customer supplied cables please contact customer service
[5 empty] | Rewindable Submersible Motors | [9 empty] | PE2/PA Windings
10" 380/415 V 50 Hz 316 SS
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE |  |  |  |  | Euro Price List
All motors listed below are 3 phases
All motors listed below are 3 phases, include flat 6m lead(s) and SIC seal.
PT100 kit (see price page "Accessoires") can be added to any motor on this page.
Motors in complete 316 Stainless Steel and with SIC seal
* Normally stocked. Call for Availability. Non-stock - call for lead time.
MODEL | DESCRIPTION | Material | Phases | kW | HP | Voltage | Hertz | Thrust (N) | Net Weight (kg) | Remarks | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS* | MODEL | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS*
Direct on Line
264 131 6111 | 10RW-85-380-50-S | S | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 1 lead | 10360.39 | 10" | 10360.39 |  | 264 131 6311 | 11470.43 | 10" | 11470.43
264 133 6111 | 10RW-110-380-50-S | S | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 1 lead | 10823.91 | 10" | 10823.91 |  | 264 133 6311 | 11983.63 | 10" | 11983.63
264 134 6111 | 10RW-130-380-50-S | S | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 1 lead | 11813.26 | 10" | 11813.26 |  | 264 134 6311 | 13078.97 | 10" | 13078.97
Star Delta
264 231 6111 | 10RW-85-380-50-SD-S | S | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 2 leads | 10962.99 | 10" | 10962.99 |  | 264 231 6311 | 12137.59 | 10" | 12137.59
264 233 6111 | 10RW-110-380-50-SD-S | S | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 2 leads | 11426.52 | 10" | 11426.52 |  | 264 233 6311 | 12650.78 | 10" | 12650.78
264 234 6111 | 10RW-130-380-50-SD-S | S | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 2 leads | 12415.88 | 10" | 12415.88 |  | 264 234 6311 | 13746.17 | 10" | 13746.17
264 235 6111 | 10RW-150-380-50-SD-S | S | 3 | 150 | 200 | 380 | 50 | 60000 | 413 | 2 leads | 13278.29 | 10" | 13278.29 |  | 264 235 6311 | 14700.97 | 10" | 14700.97
264 236 6111 | 10RW-185-380-50-SD-S | S | 3 | 185 | 250 | 380 | 50 | 60000 | 449 | 2 leads | 14619.9 | 10" | 14619.9 |  | 264 236 6311 | 16186.32 | 10" | 16186.32
For additional cable sizes or lengths, or customer supplied cables please contact customer service

## 10" Rew 904L
[5 empty] | Rewindable Submersible Motors | [9 empty] | PE2/PA Windings
10" 380/415 V 50 Hz 904L
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE |  |  |  |  | Euro Price List
All motors listed below are 3 phases
Motors listed on this page include flat 6m lead(s) and SIC seal.
Motors in complete 904L Stainless Steel and with SIC seal
PT100 kit can be added to any motor on this page.
* Normally stocked. Call for Availability. Non-stock - call for lead time.
MODEL | DESCRIPTION | Material | Phases | kW | HP | Voltage | Hertz | Thrust (N) | Net Weight (kg) | Remarks | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS* | MODEL | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS*
Direct on Line
264 131 7111 | 10RW-85-380-50-904L | 904L | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 1 lead | 18648.72 | 10" | 18648.72 |  | 264 131 7311 | 19758.76 | 10" | 19758.76
264 133 7111 | 10RW-110-380-50-904L | 904L | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 1 lead | 19483.02 | 10" | 19483.02 |  | 264 133 7311 | 20642.74 | 10" | 20642.74
264 134 7111 | 10RW-130-380-50-904L | 904L | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 1 lead | 21263.87 | 10" | 21263.87 |  | 264 134 7311 | 22529.58 | 10" | 22529.58
Star Delta
264 231 7111 | 10RW-85-380-50-SD-904L | 904L | 3 | 85 | 115 | 380 | 50 | 60000 | 280 | 2 leads | 19733.38 | 10" | 19733.38 |  | 264 231 7311 | 20907.98 | 10" | 20907.98
264 233 7111 | 10RW-110-380-50-SD-904L | 904L | 3 | 110 | 150 | 380 | 50 | 60000 | 315 | 2 leads | 20567.74 | 10" | 20567.74 |  | 264 233 7311 | 21792 | 10" | 21792
264 234 7111 | 10RW-130-380-50-SD-904L | 904L | 3 | 130 | 174 | 380 | 50 | 60000 | 362 | 2 leads | 22348.59 | 10" | 22348.59 |  | 264 234 7311 | 23678.88 | 10" | 23678.88
264 235 7111 | 10RW-150-380-50-SD-904L | 904L | 3 | 150 | 200 | 380 | 50 | 60000 | 413 | 2 leads | 23900.92 | 10" | 23900.92 |  | 264 235 7311 | 25323.6 | 10" | 25323.6
264 236 7111 | 10RW-185-380-50-SD-904L | 904L | 3 | 185 | 250 | 380 | 50 | 60000 | 449 | 2 leads | 26315.85 | 10" | 26315.85 |  | 264 236 7311 | 27882.27 | 10" | 27882.27
For additional cable sizes or lengths, or customer supplied cables please contact customer service

## Cables
Motor Cables
for encapsulated motors
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE
* Normally stocked. Call for Availability. Non-stock - call for lead time.
|  |  | used for motor type | Length | Material | weight | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS*
| model number | Description |  | in Meter | of plug | in kg
| 310 113 001 | LEAD 4X1.5-1.5M | 4" 1 + 3 phases | 1.5 | Std | 0.3 | 19.79 | ACC | 19.79 | *
| 310 113 002 | LEAD 4X1.5-2.5M | 4" 1 + 3 phases | 2.5 | Std | 0.4 | 25.21 | ACC | 25.21 | *
| 310 113 005 | LEAD 4X1.5 5M | 4" 1 + 3 phases | 5 | Std | 0.7 | 35.01 | ACC | 35.01 | *
| 310 113 010 | LEAD 4X1.5 10M | 4" 1 + 3 phases | 10 | Std | 1.4 | 54.63 | ACC | 54.63 | *
| 310 113 015 | LEAD 4X1.5 15M | 4" 1 + 3 phases | 15 | Std | 2.1 | 74.22 | ACC | 74.22 | *
| 310 113 020 | LEAD 4X1.5-20M | 4" 1 + 3 phases | 20 | Std | 2.6 | 93.83 | ACC | 93.83 | *
| 310 113 030 | LEAD 4X1.5 30M | 4" 1 + 3 phases | 30 | Std | 4.1 | 133.02 | ACC | 133.02 | *
| 310 113 040 | LEAD 4X1.5 40M | 4" 1 + 3 phases | 40 | Std | 5.3 | 172.23 | ACC | 172.23 | *
| 310 113 050 | LEAD 4X1.5 50M | 4" 1 + 3 phases | 50 | Std | 6.7 | 211.43 | ACC | 211.43 | *
| 310 113 401 | LEAD 4X1.5-1.5M | 4" 1 + 3 phases | 1.5 | 304 SS | 0.3 | 24.15 | ACC | 24.15 | *
| 310 113 402 | LEAD 4X1.5-2.5M | 4" 1 + 3 phases | 2.5 | 304 SS | 0.4 | 29.58 | ACC | 29.58 | *
| 310 113 501 | LEAD 4X1.5 1.5M SW | 4" 1 + 3 phases | 1.5 | 316 SS | 0.3 | 43.57 | ACC | 43.57 | *
| 310 113 502 | LEAD 4X1.5 2.5M SW | 4" 1 + 3 phases | 2.5 | 316 SS | 0.4 | 47.32 | ACC | 47.32 | *
| 310 134 001 | LEAD4-2-WIRE-1.5M | 4" 2wire | 1.5 | Std | 0.2 | 22.02 | ACC | 22.02 | *
| 310 134 401 | LEAD4-2-WIRE-1.5M | 4" 2wire | 1.5 | 304 SS | 0.2 | 26.38 | ACC | 26.38 | *
| 310 132 001 | LEAD4-2-WIRE-1.5M+PLUG+TRA.RI. | 4" 2wire | 1.5 | Std | 0.3 | 33.04 | ACC | 33.04 | *
| 310 111 001 | LEAD 4X1.5-1.5M+PLUG | 4" 1 + 3 phases | 1.5 | Std | 0.3 | 34.2 | ACC | 34.2 | *
| 310 111 002 | LEAD 4X1.5-2.5M+PLUG | 4" 1 + 3 phases | 2.5 | Std | 0.4 | 37.81 | ACC | 37.81 | *
| 310 112 001 | LEAD 4X1.5 -1.5m+PLUG+TRA.RI. | 4" 1 + 3 phases | 1.5 | Std | 0.3 | 37.81 | ACC | 37.81 | *
| 310 112 002 | LEAD 4X1.5 2.5M +PLUG+TRA.RI. | 4" 1 + 3 phases | 2.5 | Std | 0.4 | 41.41 | ACC | 41.41 | *
| 310 313 501 | ROUND LEAD 4X1.5 SW 1.5M | 4" 1 + 3 phases | 1.5 | 316 SS | 0.25 | 59.13 | ACC | 59.13
| 310 313 502 | ROUND LEAD 4X1.5 SW 2.5M | 4" 1 + 3 phases | 2.5 | 316 SS | 0.4 | 69.52 | ACC | 69.52
| 310 313 510 | ROUND LEAD 4X1.5 SW 10M | 4" 1 + 3 phases | 10 | 316 SS | 1.8 | 94.61 | ACC | 94.61
| 310 313 520 | ROUND LEAD 4X1.5 SW 20M | 4" 1 + 3 phases | 20 | 316 SS | 2.8 | 128.08 | ACC | 128.08
| 310 313 535 | ROUND LEAD 4X1.5 SW 35M | 4" 1 + 3 phases | 35 | 316 SS | 4.8 | 182.67 | ACC | 182.67
| 310 313 550 | ROUND LEAD 4X1.5 SW 50M | 4" 1 + 3 phases | 50 | 316 SS | 6.8 | 248.16 | ACC | 248.16
| 310 125 004 | LEAD6"-4X4-4M | 6" | 4 | Std | 1.2 | 82.82 | ACC | 82.82 | *
| 310 125 008 | LEAD6" 4X4 8M | 6" | 8 | Std | 2.3 | 127.82 | ACC | 127.82 | *
| 310 125 010 | LEAD6"4X4 10M | 6" | 10 | Std | 2.7 | 145.83 | ACC | 145.83 | *
| 310 125 020 | LEAD6"4X4 20M | 6" | 20 | Std | 5.3 | 235.82 | ACC | 235.82 | *
| 310 125 030 | LEAD6"4X4 30M | 6" | 30 | Std | 7.5 | 325.82 | ACC | 325.82 | *
| 310 125 040 | LEAD6"4X4 40M | 6" | 40 | Std | 10.5 | 414.07 | ACC | 414.07 | *
| 310 125 050 | LEAD6"4X4 50M | 6" | 50 | Std | 14 | 505.82 | ACC | 505.82 | *
| 310 125 504 | LEAD6-4X4mm-4m-SW | 6" | 4 | 316 SS | 1.2 | 129.62 | ACC | 129.62 | *
| 310 125 508 | LEAD6-4X4mm-8m-SW | 6" | 8 | 316 SS | 2.3 | 174.61 | ACC | 174.61 | *
| 310 145 004 | LEAD 4X8.4 4M | 6" | 4 | Std | 2.3 | 113.42 | ACC | 113.42 | *
| 310 145 008 | LEAD 4X8.4 8M | 6" | 8 | Std | 4.5 | 205.22 | ACC | 205.22 | *
| 310 145 010 | LEAD 4X8.4 10M | 6" | 10 | Std | 5.5 | 239.42 | ACC | 239.42 | *
| 310 145 020 | LEAD 4X8.4 20M | 6" | 20 | Std | 11.4 | 408.64 | ACC | 408.64 | *
| 310 145 030 | LEAD 4X8.4 30M | 6" | 30 | Std | 16.6 | 576.05 | ACC | 576.05 | *
| 310 145 040 | LEAD 4X8.4 40M | 6" | 40 | Std | 20.6 | 745.28 | ACC | 745.28 | *
| 310 145 050 | LEAD 4X8.4 50M | 6" | 50 | Std | 27.1 | 914.47 | ACC | 914.47
| 310 145 504 | LEAD6-4X8.4 -4m-SW | 6" | 4 | 316 SS | 2.4 | 172.81 | ACC | 172.81 | *
| 310 145 508 | LEAD6-4X8.4 -8m-SW | 6" | 8 | 316 SS | 4.2 | 241.23 | ACC | 241.23 | *
| 310 364 004 | PTC-LEAD-2X0.75-4M | PTC | 4 | Std | 0.4 | 30.62 | ACC | 30.62
| 310 364 008 | PTC-LEAD-2X0.75-8M | PTC | 8 | Std | 0.8 | 50.41 | ACC | 50.41
| 310 364 010 | PTC-LEAD-2X0.75-10M | PTC | 10 | Std | 0.9 | 61.2 | ACC | 61.2 | *
All 8" leads without ground
| 305 243 901 | LEAD8-3X8.4-8M | 8" 30 - 45 kW | 8 | Std | 3.4 | 376.58 | ACC | 376.58 | *
| 305 310 901 | LEAD8-3X16MM-8M | 8" 55 - 93 kW DOL | 8 | Std | 6.1 | 622.68 | ACC | 622.68 | *
8" 55 -150 kW SD
| 305 243 902 | LEAD8-3X8.4 316 SS | 8" 30 - 45 kW | 8 | 316 SS | 4 | 531.94 | ACC | 531.94 | *
| 305 310 951 | LEAD8-3X16-8M-316SS | 8" 55 - 93 kW DOL | 8 | 316 SS | 6.1 | 633.32 | ACC | 633.32 | *
| 305 309 901 | LEAD8-3X35-8M | 8" 110 -150 kW DOL | 8 | 316 SS | 11 | 862.43 | ACC | 862.43 | *
Ground Leads
| 308 051 080 | GROUND LEAD8-1X10-8M | 8" 30 - 45 kW | 8 | 316 SS | 1 | 63.68 | ACC | 63.68 | *
| 308 053 080 | GROUND LEAD8-1X25-8M | 8" 55 -150 kW | 8 | 316 SS | 2 | 111.48 | ACC | 111.48 | *
4 inch
6 inch
PTC
8 inch
FE - PUR

## Accessories
ACCESSORIES
PRICE LIST EFFECTIVE 01-OCTOBER-2010 ORDER DATE
* Normally stocked. Call for Availability. Non-stock - call for lead time.
MODEL | DESCRIPTION | kW | HP | List Price (Euro) | Price Group | Net Price Euro | STOCK STATUS*
LIGHTNING ARRESTOR (1 required per motor)
155 440 901 | for three phase motors |  |  | 175.55 | ACC | 175.55 | *
4" COUPLINGS (SPLINED WITH SPACER DISC)
308 712 904 | ID=17,5mm; 316SS (V4A) |  |  | 22.28 | ACC | 22.28 | *
151 551 911 | ID=19,05mm (3/4") 1.4005 (416SS) |  |  | 68.57 | ACC | 68.57
6" COUPLINGS (SPLINED & KEYED WITH SPACER DISC)
151 935 901 | ID=22,225mm (7/8") 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39
151 935 902 | ID=19,05mm (3/4") 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39 | *
151 935 906 | ID=25mm 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39 | *
151 935 908 | ID=22,025mm 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39
151 935 909 | ID=25,4mm (1") 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39 | *
151 935 910 | ID=20mm 1.4005 (416SS) |  |  | 82.39 | ACC | 82.39
151 935 921 | ID=22,225mm (7/8") 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
151 935 922 | ID=19,05mm (3/4") 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
151 935 923 | ID=25,4mm (1") 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
151 935 926 | ID=25mm 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
151 935 927 | ID=20mm 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
151 935 928 | ID=22,025mm 1.4401 (316SS) |  |  | 131.59 | ACC | 131.59
6" COUPLING INSERT
151 936 201 | OD=37,656mm, L=39,7mm 1.4404 (316SS) |  |  | 42.86 | ACC | 42.86
8" COUPLINGS | Pump Shaft Diameter mm/inch | Material
156 563 901 | 1" | 416 SS |  | 238.99 | ACC | 238.99
156 563 903 | 1 1/4" | 416 SS |  | 238.99 | ACC | 238.99 | *
156 563 904 | 1 1/2" | 416 SS |  | 238.99 | ACC | 238.99
156 563 923 | 1 1/4" | 316 SS |  | 442.88 | ACC | 442.88
156 563 926 | 1 3/16" | 316 SS |  | 442.88 | ACC | 442.88
156 563 929 | 1 11/16" | 316 SS |  | 442.88 | ACC | 442.88
SUBMONITOR |  | kW
586 000 5100 | 380, 400, 415 V, 50 Hz | <= 150 |  | 785.74 | ACC | 785.74 | *
PT100 SENSOR BOLT WITH 10 METER CABLE (for encapsulated motors only)
305 327 903 | PT100 Assembly 6" 4 kW - 45 kW |  |  | 314.82 | ACC | 314.82 | *
305 326 902 | PT100 Assembly 8" 30 kW - 75 kW |  |  | 314.82 | ACC | 314.82 | *
305 326 901 | PT100 Assembly 8" 93 kW - 150 kW |  |  | 314.82 | ACC | 314.82 | *
PT100 SENSOR KIT FOR REWINDABLE MOTORS
308 016 401 | including 10m lead |  |  | 229.26 | ACC | 229.26 | *
308 016 402 | including 20m lead |  |  | 287.3 | ACC | 287.3 | *
308 016 403 | including 30m lead |  |  | 345.31 | ACC | 345.31
308 016 405 | including 50m lead |  |  | 461.41 | ACC | 461.41 | *
308 016 422 | including 10m lead | 904L |  | 229.26 | ACC | 229.26
308 016 426 | including 50m lead | 904L |  | 461.41 | ACC | 461.41
PT100 SENSOR BOLT WITH CABLE (for encapsulated HiTemp motors only)
156 098 111K | PT100 Assembly 6" 4 kW - 30 kW | 10m | N E W | 314.82 | ACC | 314.82 | *
156 098 112K |  | 130m | N E W | 726.5 | ACC | 726.5 | *
156 098 116K | PT100 Assembly 8" 30 kW - 110 kW | 10m | N E W | 314.82 | ACC | 314.82 | *
156 098 117K |  | 130m | N E W | 726.5 | ACC | 726.5 | *
FILL SOLUTION CONCENTRATE FOR ALL MOTORS (ENCAPSULATED AND REWINDABLE)
308 353 941 | 5 liter concentrate for all motors |  |  | 99.57 | ACC | 99.57 | *
308 726 103 | 4", 6" and 8" standard fill kit |  |  | 28.06 | ACC | 28.06 | *
308 726 101 | Filling Set for 6" AF motors |  |  | 38.63 | ACC | 38.63 | *
TERMINATION/SPLICING KIT
308 090 901 | TERMINATION KIT |  |  | 42.03 | ACC | 42.03 | *
308 090 902 | TERMINATION KIT with traction relief |  |  | 51.45 | ACC | 51.45 | *
308 090 921 | Splicing Kit 1,5mm² - 10mm² | N E W |  | 34.13 | ACC | 34.13 | *
SACRIFICIAL ANODE FOR 4" MOTORS
308 250 912 | Anode for 4" motors to 4000N |  |  | 24.37 | ACC | 24.37 | *
308 250 913 | Anode for 4" motors - 6500N |  |  | 27.72 | ACC | 27.72
PERMANENT STAR PLUG FOR 6" CT MOTORS
308 065 901 | Star Plug - 304 SS |  |  | 73.23 | ACC | 73.23
308 065 951 | Star Plug - 316 SS |  |  | 127.04 | ACC | 127.04
PUMP FIXTURE
275 334 303 | Screw 31,75 mm |  |  | 2.57 | ACC | 2.57 | *
275 547 113 | Lockwasher |  |  | 0.4 | ACC | 0.4 | *
275 334 305 | Screw 44,45 mm |  |  | 3.71 | ACC | 3.71 | *
308 659 316 | Pump Fixture Kit 31,75mm |  |  | 17.3 | ACC | 17.3 | *
308 659 318 | Pump Fixture Kit 38,1mm | N E W |  | 18.65 | ACC | 18.65
308 659 315 | Pump Fixture Kit 44,45mm |  |  | 20.01 | ACC | 20.01 | *

## Descriptions
Franklin Electric Product Descriptions
Motors
Example: | 6R1 | 4.0 | 380/415 | 50 | W | PTC
Description: | Electrical Design | Rating in KW | Voltage | Cycles in Hz | Execution | Options
Example: | 6R1-4.0-380/415-50-W-SIC
| Electrical Design | Rating in KW | Voltage | Cycles in Hz | Execution | Options
4 Inch
Motor
| 2W | 2 Wire (no Control Box required)
| 3W | 3 Wire (Control Box required)
| 3P | 3 Phase
| PSC | Permanent Split Capacitor
Execution
| W | Water Well Execution (Standard Material - 304 Stainless Steel)
| S | Special Material V4A (316 Stainless Steel)
Options
| OL | Overload Protection
| LA | Lightning Arrestor
6 Inch
Motor
| 6RW | 6 Inch, Wet Wound Motors
| 6SL | 6 Inch, Streamline Wet Wound Motors
| 6HT | 6 Inch, Hi-Temp 90 Motors
Execution
| W | Water Well Execution (Standard Material - 304 Stainless Steel)
| S | Special Material V4A (316 Stainless Steel)
| 904L | 904L material
Options
| PE2/PA | PE2/PA 50° C windings
| SD | Start-Delta-Start
| SIC | Silicon Carbide Seal
| SB | Subtrol-Plus transmitter equipped
| PTC | PTC - Sensor
8 Inch
Motor
| 8RW | 8 Inch, Wet Wound Motors
| 8HT | 8 Inch, Hi-Temp 75 Motors
Execution
| W | Water Well Execution (Standard Material - 304 Stainless Steel)
| S | Special Material V4A (316 Stainless Steel)
| 904L | 904L material
Options
| PE2/PA | PE2/PA 50° C windings
| SD | Start-Delta-Start
10 Inch
Motor
| 10RW | 10 Inch, Wet Wound Motors
Execution
| W | Water Well Execution (Standard Material - 304 Stainless Steel)
| S | Special Material V4A (316 Stainless Steel)
| 904L | 904L material
Options
| PE2/PA | PE2/PA 45° C windings
| SD | Start-Delta-Start
Control Boxes
Example: | CB | 0.59 | 230 | 60 | OL
Description: | Control Box | Rating | Voltage | Cycles | Options
Options
| OL | Overload Protector
Leads and Cables
Example: | LEAD4 | 4X1.5 | 2.5M | KTW/VDE
Description: | Lead Frame | Conductors and Diameter | Length | Options
Lead Frames
| LEAD4 | Lead with 4" connector
| LEAD6 | Lead with 6" connector
| LEAD8 | Lead with 8" connector
Options
| S | Special Material V4A (316 Stainless Steel)
| PTC | Positive Temperature Coefficient (PTC Lead)
| KTW | Approved by"Kommission für Trinkwasser"
| VDE | Approved by "Verband deutscher Elektrotechniker"
Stators
Example: | ST8 | 110 | 380,400,415 | 50 | SB
Description: | Stator Type | Rating | Voltage | Cycles | Options
Stator Types
| ST4-2W | Stator 4" - 2 Wire
| ST4-3W | Stator 4" - 3 Wire
| ST4-3P | Stator 4" - 3Phase
| ST4-PSC | Stator 4" - PSC
| ST6R1 | Stator 6" - Redesign 1
| ST6R2 | Stator 6" - Redesign 2
| ST8 | Stator 8"
Options
| SD | Start-Delta-Start
| S | Special Material V4A (316 Stainless Steel)
| SB | Subtrol-Plus transmitter equipped
| PTC | PTC - Sensor